## Slide 1
The force of electrical interaction between stationary charges is incredibly strong. But it is nevertheless quite difficult to measure the electric charge of conducting bodies with high accuracy. A charge that is too small does not interact with any noticeable force. Too much charge creates high electrostatic pressure and flows into the air. The aim of our study was to create an electrometer able to measure electric charge with high accuracy.
Charge Meter
The Reporter | Tim Semenikhin

## Slide 2
Summary
3)
Calculating charge from potentials of sphere, plates and distances between them
O
M
y
Calculating charge from NSL
Fgravity
Ttension
Felectricity
2)
1)
Doing an experiment

## Slide 3
Setup

## Slide 4
Experimental data

## Slide 5
Summary
3)
Calculating charge from potentials of sphere, plates and distances between them
O
y
Calculating charge from NSL
Fgravity
Ttension
Felectricity
2)
1)
Doing an experiment

## Slide 6
Simple model. Forces acting on a sphere
Ttension
Felectricity
Fgravity
C

## Slide 7
Optimization of installation for measuring the smallest charges
The minimum deviation that we can record – 110-3 m
The maximum voltage we can report – 3104 V

## Slide 8
Refined model. Field of one plate on the axis passing through the center of the plate
i, j – все пары соседних чисел
Between the plates, the field calculated by the formula for a uniform charge on the plates changes by 5%
X
E
E(x)
Uniform field

## Slide 9
h
Ball-induced charges on plates
+Q
-Q
-Q
x
d

## Slide 10
Calculation of the charge based on all the acting forces
tension
First model
Refined model
C

## Slide 11
Summary
3)
Calculating charge from potentials of sphere, plates and distances between them
O
M
y
Calculating charge from NSL
Fgravity
Ttension
Felectricity
2)
1)
Doing an experiment

## Slide 12
O
M
d1
d2
r
a
12
Modeling a complex capacitor system for charge calculation

## Slide 13
Distribution of potential in space with the course of iterations

## Slide 14
Results
In the range of 3-5 kV, the simulation converges with mathematical methods ∆<8%.In this range, the simplified mathematical model differs little from the complicated one ∆<1%
C
Modeling
First model
Refined model

## Slide 15
Calculate the surface charge density on the capacitor plates
k 1.2 – 1.4)

## Slide 16
Calculating charge with “uniform field” model
C

## Slide 17
Let us calculate the tension of a plate of finite dimensions
a1
a2
a4
a3
l
X
Y
(0;0)

## Slide 18
Summary
3)
Calculating charge from potentials of sphere, plates and distances between them
O
M
y
Calculating charge from NSL
Fgravity
Ttension
Felectricity
2)
1)
Doing an experiment

## Slide 19
Numerical solving
Let's divide the space into cells, in each of which the potential is constant
X
Y
The potential values ​​in neighboring cells are related through the Laplace equation
The resulting system of equations is solved iteratively
* In the simulation, the grid was 50 times finer

## Slide 20
Calculating charge
20
Using the potential distribution we can calculate the charge that creates this potential
X
Y
*Potential distribution in simple view

## Slide 21
Experimental parameters
L = 0.35 m
a = 0.42 m
d = 0.12 m
V

## Slide 22: Результаты эксперимента
Оценка
Вычисление напряженности
Выводы
Моменты времени, в которые вторая производная равняется нулю соответствуют прохождению сферой положения равновесия

## Slide 23
Параметры эксперимента
Отклонение центра сферы от вертикали - x
Радиус сферы – r = 20мм

## Slide 24: Применим закон Кулона для точной оценки напряженности поля
Поле круглой пластины
r
h
Напряженность меняется от в состоянии максимального отклонения, полученного в ходе эксперимента
В пределе

## Slide 25: Вычислим значения
Оценка
Вычисление напряженности
Выводы
= k = 10-10 , В-2
константы

## Slide 26: Вычислим значения
Оценка
Вычисление напряженности
Выводы
Cтеор = =
Cэкспер =
Порядок совпадает, но метод оценочный

## Slide 27
Влияние индуцированных зарядов на шарике от пластин
+
-
* Джон Дэвид Джексон (1962) «Классическая электродинамика» стр. 48

## Slide 28: Демонстрация
Установка

## Slide 29
Первый эксперимент
1) Подаем напряжение 2U на пластины
2) Передаем заряд на шарик
3) Отпускаем сферу и наблюдаем величину отклонения

## Slide 30
Вычисление напряженности одной пластины
a1
a2
a4
a3
l
X
Y
(0;0)

## Slide 31
Напряженность поля конечного конденсатора
i, j – все пары соседних чисел